Uncertainty in measurement: 

· No matter the measuring tool, there will always be some uncertainty/error in the measurement. 

· Both the tool and its user will add their own uncertainty to the measurement. 

[image: image1.png]


Reliability of measurement: 

· Accuracy - refers to how close a measurement is to the true accepted value of the quantity. 

· Precision - refers to how close a set of measurements are to one another, regardless of whether they are accurate or correct. 

                                                                                                  Accurate

Think of it like this where the true/accepted value is the center

Experimental error - the comparison of an experimental value to the accepted/ true value. This calcuation is used to determine how well your experimental measurements are done. 

% error =  experimental value – accepted value
[image: image2.wmf]accepted value













