## Slide 1: Lumbar (Spinal) Drain
Emily Castro, BSN, MSN, CCRN
Critical Care Nurse Educator

## Slide 2: Indication
Normal adult intraspinal (lumbar) pressure is 0 to 10 mmHg.
  Corresponds with intracranial pressure
Lumbar drain also called lumbar subarachnoid catheter or intrathecal catheter
Lumbar drain is used in the perioperative management of intraspinal pressure during and after thoraco or thoraco-abdominal aortic aneurysmal repair.

## Slide 3: Indications/Contraindications
Lumbar drain
  Used to improve impaired spinal cord perfusion related to spinal cord edema
  Contraindicated for those patients with midline mass effect
  A CT scan is helpful to confirm discernible basal cisterns and absence of mass lesion which may lessen the risk of herniation

## Slide 4: Patient Assessment
Baseline data: assess the patient’s neurologic status, including LOC, cranial nerves, sensory and motor function in the upper and lower extremities, vital signs, bowel and bladder function, comfort level (including headache)
Baseline coagulation determines the risk for bleeding during and after lumbar drain insertion: PT/PTT/INR, CBC with platelets

## Slide 5: Patient Assessment
Assess medication profile: recent anticoagulants, or anti-platelet agents may increase the risk of bleeding during and after lumbar drain insertion and after removal.

## Slide 6: Procedure
Steps
Flush the sterile CSF drainage system and transducer with preservative-free sterile saline normal saline solution.
Rationale/Special Considerations
Preservative in normal saline may cause cortical necrosis. Allowing the CSF to flush the system after insertion of the catheter may allow air in the fluid-filled system, resulting in a damped waveform, inaccurate intraspinal pressure values, and decreased drainage.
Do not attach a pressurized IV fluid bag to the transducer

## Slide 7: Procedure
Steps
Attach the fluid-filled transducer to the CSF drainage system.
Connect the fluid-filled transducer to the pressure cable.
Set the “0” reference line of the drip chamber at the level of the transducer which is at zero reference.
Rationale/Special Considerations
Ensure that the waveform chosen for CSF monitoring is read on the “mean” setting.

## Slide 8: Procedure
Steps
Level the transducer and the zero reference to the level of catheter insertion.
Position the reference level of the drip chamber as prescribed (10-15 mmHg).
Zero the transducer.
Rationale/Special Considerations
The anatomic reference point will be determined by the physician.
The relationship of the reference level of the drip chamber to the anatomic reference point alters the rate of CSF drainage.
Ensures accurate data.

## Slide 9: Procedure
Steps
Note the initial CSF pressure, color, and clarity.
If CSF pressure is greater than the prescribed target pressure (10-15 mmHg), drain 10 to 20 ml/hr until CSF pressure is within the target range.
If CSF pressure continues to be greater than the target range after 20ml has been drained within the hour, Notify MD/NP/PA for additional drainage order.
Rationale/Special Considerations
Baseline data
The stopcock must be turned off to the drain to obtain an accurate intraspinal pressure.
Contact Provider Note

## Slide 10: Procedure
Steps
Perform neurological assessment (Basic Neurological with PERRL) every hour x 4 as ordered then every 4 hours as ordered :including sensory and motor function in the upper and lower extremities, and bowel and bladder function.
Rationale/Special Considerations
Detect neurological problems
Avoid hyper flexion, rotation, or extension of the hip or neck because this may impede drain flow.

## Slide 11: Procedure
Steps
Maintain head of the bed at the level ordered, keeping head, neck, back in a neutral position. Patient may be turned as necessary.
Reassess the level of transducer, zero reference, and level line of the drip chamber. Relevel and zero as needed.
Rationale/Special Considerations
Prevent overdrainage or underdrainage. If overdrainage is suspected, clamp the drain, lower head of the bed and assess neurologic status.

## Slide 12: Troubleshooting
Possible Complications
Infection occurs with increase in length of therapy, if the system is opened, a break in the sterile field, leakage at the site of insertion or with drain obstruction.
Nursing Interventions
Monitor for signs and symptoms of infection, fever, redness, swelling, or drainage at insertion site including sign and symptoms of meningeal irritation, i.e. stiff neck, headache, vomiting, photophobia, and decrease level of consciousness. Report all findings to MD/NP/PA.

## Slide 13: Troubleshooting
Possible Complications
Pain due to nerve root irritation in relation to the position of the lumbar drain.
Nursing Interventions
Monitor for the presence of radicular leg pain, numbness or tingling, and changes in deep tendon reflexes. Notify MD/NP/PA. Nursing interventions may include changing the patient’s position and administering analgesic medication as needed.

## Slide 14: Troubleshooting
Possible Complications
Tension pneumocranium is due to over drainage of CSF. A negative pressure gradient is created by the combination of head elevation and excess CSF drainage.
Nursing Interventions
Monitor for signs and symptoms of sudden decrease in level consciousness or development of neurologic deficit. Notify MD/NP/PA immediately. Treatment may include placing patient in a supine or a slight trendelenburg position, administering high-flow oxygen and performing ongoing assessment.

## Slide 15: Troubleshooting
Possible Complications
Central herniation results from rapid drainage of the CSF and an increased ICP, causing a downward shifting of intracranial contents.
Nursing Interventions
Monitor for signs and symptoms of decrease level of consciousness, irritability, confusion, weakness, paresis, abnormal breathing patterns, and changes in pupillary reactivity and size. Notify MD/NP/PA immediately.

## Slide 16: Troubleshooting
Possible Complications
Subdural hematoma results from over drainage or from CSF draining too rapidly.
Nursing Interventions
Monitor for signs and symptoms of decrease level of consciousness, irritability, confusion, weakness, paresis, and change in pupillary reactivity. Notify MD/NP/PA immediately.

## Slide 17: Troubleshooting
Possible Complications
Intradural hematoma is a complication resulting at the insertion site which may occur following drain removal.
Nursing Interventions
Monitor for signs and symptoms of progressive lower extremity paresis, loss of reflexes, and decrease muscle tone. Notify MD/NP/PA immediately and anticipate potential surgical evacuation.
NOTE: PATIENTS WITH A SPINAL DRAIN SHOULD NOT BE ON ANY TYPE OF ANTICOAGULANT (e.g. HEPARIN, ASA, OR PLAVIX). IF PATIENT HAS ANTICOAGULANT MEDICATION ORDERED, NOTIFY MD/NP/PA PRIOR TO D/C OF LUMBAR DRAIN!

## Slide 18: Troubleshooting
Possible Complications
CSF Leak after removal of lumbar drains is a complication resulting at the insertion site, following drain removal.
Nursing Interventions
Monitor for signs and symptoms of sudden decrease in level consciousness or development of neurologic deficit. Notify MD/NP/PA immediately. Treatment may include performing ongoing neurologic assessment and observation of lumbar site. Patients with any neurologic change, particularly with the onset of a headache may require a blood patch.

## Slide 19: Removal of Lumbar Drain
Apply a sterile occlusive dressing.
Continue to assess the patient’s neurologic status and dressing after removal of the catheter for CSF leak.

## Slide 20: Normal Lumbar CSF Pressure Waveform
ICP waveform has three peaks:
  P1—the percussion wave (arterial)
  P2— the tidal wave (rebound)
  P3—the dicrotic wave (venous)

## Slide 21: Abnormal Lumbar CSF Pressure Waveform

## Slide 22: References
Hickey, J. V. (2003). The clinical practice of neurological and neurosurgical nursing (5th ed.). Philadelphia: Lippincott.
March, K. (2004). Intracranial pressure concepts and cerebral blood flow. In M. K. Bader & L. R. Littlejohns (Ed.), AANN core curriculum for neuroscience nursing (pp. 87–114). Philadelphia: Saunders.
Wiegand, D. (2011). AACN procedure manual for critical care (6th ed.). Philadelphia: Saunders.