Measuring Mass

Pre-Lab Discussion

For laboratory work in a general chemistry course, three basic types of measurements using the lab balance should be mastered. These are; measuring mass directly, “measuring out” a specific mass of a substance, and determining mass by difference. These three types of measurement and the techniques for making them are briefly described from the positions of the riders on the beams.

- Measuring mass directly. Direct measurement is used to determine the mass of a beaker or flask or similar object. This is the simplest type of measurement made with the balance. In a direct measurement, the object whose mass is to be measured is placed on the balance pan and the appropriate riders are moved into positions along the beams until the pointer is balanced at the zero point. The mass of the object is read directly from the positions of the riders and the beams.

- “Measuring out” a substance. This technique is often used to obtain a desired mass of a solid chemical, such as table salt, that exists in a granular or crystalline state. To do this, the riders are pre-set to the desired mass reading. The substance being measured out is then added to the balance pan until the pointer is balanced at the zero point. Keep in mind, however, that chemicals should never be placed directly on the balance pan. A piece of paper or a container of some kind should be placed on the pan to receive the substance being measured. The pre-set mass must then be equal to the mass of the paper or container plus the mass to be measured out. This technique can be used for liquids as well as solids. The liquid is poured into a container resting on the balance pan with the pre-set mass equal to the mass of the empty container plus the mass of the liquid to be measured out.

- Determining mass by difference. Finding mass by difference is an important laboratory technique. As the name suggests, this technique involves subtraction. One common use for this technique is to determine the mass of a quantity of a substance, such as a liquid, that is in a container. In a case of this sort, it is necessary to subtract the mass of the empty container from the combined mass of the container and the substance. Another important use of this technique is to measure changes in mass that occur during a chemical reaction.

In this experiment, you will learn how to perform all three types of measurements described here. In addition, you will gain valuable practice in using the laboratory balance and in handling different materials and apparatus.

Purpose

Practice the various techniques of measuring masses using the lab balance. Gain experience in the techniques of handling laboratory materials and equipment.

Page 2

Equipment

Lab balance		Microspatula

Watch glass		graduated cylinder, 100-mL

Beaker, 150-mL	timer (watch or clock)

Beaker, 50-mL	safety glasses

Materials

Sodium chloride (NaCl)	Balloon, rubber

Calcium chloride (CaCl2)	coins (1 penny, 1 nickel)

Filter paper

Procedure

Part 1 Measuring Mass Directly

- Check your balance to make sure that the pointer is properly “zeroed”. If an adjustment is necessary, consult your teacher.

- Place a penny on the balance pan. Move the rider(s) until the pointer is balanced (zeroed). Record the mass of the penny.

- Repeat step 2 for the objects listed below. Record the mass of each object.

  - A nickel

  - A watch glass

  - A 150-mL beaker

  - A 100mL graduated cylinder

Part 2 Measuring Out a Substance

- Place a piece of filter paper on the balance pan. Move the rider on the front beam until the balance is zeroed. Record this reading.

- Move the riders until they read exactly 7.5 g more than the reading you obtained in step 4. Record this setting.

- Obtain a quantity of sodium chloride (NaCl) on a piece of paper. Using your macrospatula, add this substance to the filter paper on the balance pan until the pointer is balanced. (If you add too much, remove enough with your microspatula to make the pointer balance.) Discard the NaCl and filter paper as instructed by your teacher.

- Place a dry 50 mL beaker on the balance pan. Move the riders until the pointer is balanced. Record this reading.

- Move the riders until they read exactly 22 g more than the reading you obtained in step 7. Record this setting.

- In a 100-mL graduated cylinder, obtain exactly 30 mL of cold tap water. Slowly and carefully pour water from the graduated cylinder into the beaker on the balance pan until the pointer is balanced. Avoid splashing water onto the pan. Note and record the volume of water remaining in the graduated cylinder. Discard the water and dry the beaker.

Page 3

Part 3 Determining Mass by Difference

- Measure and record the mass of a watch glass.

- Using the procedure described by your teacher, obtain 20-25 crystals of calcium chloride (CaCL2) on a piece of paper. Carefully transfer the crystals to the watch glass.

- Measure and record the combined mass of the watch glass and calcium chloride. Note and record the time of this measurement.

- Using your macrospatula spread the crystals out on the watch glass. Study the crystals and record your observations. Set the watch glass and crystals aside to be reexamined later.

Experiment 3 Measuring Mass (Continued)

- Measure and record the mass of a piece of filter paper.

- Obtain a quantity of sodium chloride (NaCl) on a piece of paper. Using your macrospatula, place 1 heaping scoop of the NaCl on the filter paper. Measure and record the combined mass of the filter paper and NaCl.

- Add a second heaping scoop of NaCl to the sample on the filter paper. Measure and record the combined mass of the filter paper and the 2 scoops of NaCl.

- Add a third heaping scoop of NaCl to the sample on the filter paper. Measure and record the combined mass of the filter paper and the salt. Discard the salt and the filter paper.

- Measure and record the mass of a 150-mL beaker.

- In a 100-mL graduated cylinder, obtain exactly 30-mL of cold tap water. Carefully pour this water into the beaker. Measure and record the combined mass of the beaker and water.

- Inflate a balloon and tie off the open end so that no gas can escape. Measure and record the mass of the inflated balloon.

- Puncture the balloon and allow all the gas to escape. Measure and record the mass of the deflated balloon. Discard the balloon.

- Reexamine the calcium chloride crystals on the watch glass that you set aside earlier. Record your observations.

- Measure and record the combined mass of the watch glass and its contents. Note and record the time and this measurement. Discard the calcium chloride and clean and dry the watch glass.

Chemistry Laboratory – Measuring Mass				Page 4

Data Table Part I

| Description | Mass in grams |
| --- | --- |
| Mass of penny |  |
| Mass of nickel |  |
| Mass of 150 mL beaker |  |
| Mass of 100 mL graduated cylinder |  |

Data Table II

| Description | Units |
| --- | --- |
| Mass of paper | g |
| Mass of paper + 7.50 g | g |
| Mass of 50 mL beaker | g |
| Mass of 50 mL beaker + 22.000 g | g |
| Volume of water remaining in cylinder | mL |

Data Table III

| Description | Units |
| --- | --- |
| Mass of watch glass | g |
| Mass of watch glass and CaCl2 | g |
| Time of measuring watch glass & CaCl2 |  |
| Mass of filter paper | g |
| Mass of filter paper + 1 scoop NaCl | g |
| Mass of filter paper + 2 scoops NaCl | g |
| Mass of filter paper + 3 scoops NaCl | g |
| Mass of 150 mL beaker | g |
| Mass of 150 mL beaker + 30 mL water | g |
| Mass of inflated balloon | g |
| Mass of deflated balloon | g |
| Mass of watch glass & CaCl2 after sitting | g |
| Time of measuring watch glass and CaCl2 after sitting |  |

Observations

Calcium chloride crystals initially –

Calcium chloride crystals after elapsed time –

Chemistry Laboratory – Measuring Mass					Page 5

Calculations – INCLUDE EQUATIONS & WORK!!!!!

Calculate the volume of water added to the beaker in step 9		________ mL

Calculate the mass of one mL of water					_________ g

Using the mass by difference technique, calculate the mass of:

CaCl2 crystals added to the watch glass				__________ g

NaCl (one scoop)							__________ g

NaCl (two scoops)							__________ g

NaCl (three scoops)							__________ g

30 mL of tap water							__________ g

moisture absorbed by the CaCl2					__________ g

Calculate the mass difference between the inflated and deflated 	__________ g

balloon

Calculate the time elapsed, in minutes, between the two			________ min

measurements of CaCl2

Chemistry Laboratory – Measuring Mass					Page 6

Conclusions and Questions

- In steps 15-17 of the procedure, you measured the combined masses of a piece of filter paper plus one, two, and three heaping scoops of NaCl respectively.

  - From Calculation 3(b), what was the mass of the first scoop of NaCl?

  - From your data, calculate the masses of: the second scoop of NaCl (step 16-15) and the third scoop of NaCl (step 17-16).

  - Compare the masses of each individual scoop of NaCl as determined in (a) and (b) above. Are the three values identical? If not, how do you account for the differences?

- What measurements would you make to determine the average mass of a heaping macrospatula of NaCl? How would you use these measurements to arrive at an average mass?

- The difference between the mass of the balloon when inflated and its mass after being punctured is not an accurate determination of the mass of the gas in the inflated balloon. Why is this?

- Suppose you were asked to measure out 5 grams of calcium chloride. Briefly describe how you would make this measurement.

- Suppose that you wanted to know the mass of a quantity of orange juice that was poured into a drinking glass. Describe how you would determine this mass.

- A beaker contains a quantity of a liquid. You want to know the combined mass of the beaker and the liquid. Describe how you would go about making this determination.

- Suppose you were asked to compare the mass of a nickel and a sample of NaCl crystals.

  - Which method would you use to determine the mass of the nickel?

  - Which method would you use to determine the mass of the NaCl crystals?

  - Which of the two measurements is likely to be the more accurate one? Explain.