| ## Chemical Test | Acceptable Range | What the Test Determines |
| --- | --- | --- |
| Dissolved Oxygen | 5ppm – 8ppm (fresh) 8ppm – 10ppm (salt) | ## Determines the ability for aquatic life to survive; cold water & saltwater fish require higher levels |
| Carbon Dioxide | 20ppm – 30ppm | Determines the ability of aquatic plants to thrive; best if ‘in balance’ with oxygen levels |
| Ammonia Nitrogen | 0ppm – 1ppm | Determines contamination due to fertilizer/urine or other chemical spill; causes algal blooms |
| Nitrate Nitrogen | 0ppm – 10ppm | Part of the nitrogen cycle (see ammonia nitrogen); safer in the lower ranges |
| Alkalinity | 0ppm – 40ppm | Indicates carbonate or hydroxides – may cause problems for some aquatic life in high levels by spiking pH levels. |
| pH | 6 - 8 | Waters more acidic than 6 or basic than 8 should be considered as suspect/contaminated. Ponds are best at a pH between 6 & 7 |
| Iron | 0ppm – 0.5ppm | Harmful to living organisms in high quantities; usually contaminated from pipes or dumps |
| Copper | 0ppm – 0.3ppm | Levels above 1.0ppm impart a bitter taste to water & indicate contamination |
| Phosphate | 0ppm – 0.4ppm | Levels above 0.1ppm indicate contamination; usually from detergents or fertilizer; causes algal blooms |
| Sulfide | 0ppm – 10ppm (low bacterial activity) 20ppm- 40ppm (moderate bacterial activity) | Levels at 50ppm and above indicate strong bacterial presence and a rotten/musty smell to water which may deplete oxygen levels in the pond. Bacteria are needed to decompose dead plant & animal materials, but decomposition uses up available oxygen. |
| ## Chlorine | 0ppm – 1ppm | Ranges below 1ppm are considered best; chlorine is added to treat dirty water |
| ## Hardness | 0ppm – 60ppm | High levels of water hardness can cause pH levels to rise to 8 and beyond. |