## Slide 1: Code Blue: When Time is Tissue, Faster is Better and Safer
MaShelia T. Broadway, MNSc, APRN, A/G ACNP
Rapid Response Team Leader
Central Arkansas Veterans Healthcare System (CAVHS)

## Slide 2: Intra-Osseous Access
An IO (intraosseous) infusion is the process of injecting directly into the marrow of a bone to provide an entry point into the systemic venous system. IO access devices are used for vascular access in emergent situations when PIV (peripheral)access cannot be obtained and when the patient might be at risk of increased morbidity or mortality.

## Slide 3: Standard of Care
According to the American Heart Association and the Advanced Cardiac Life Support (ACLS) protocol having intravenous access is a standard of care for resuscitation efforts

## Slide 4: Key Points
It acknowledges that success rate and time to vascular cannulation are crucial to the optimal resuscitation of the critically ill patient.
Failure rates of emergent IV access in the literature range from 10-40%.
The average time for cannulation ranges from 2.5 to 13 minutes with difficult IV requiring as much as 30 minutes.
Given the time to establish a central venous catheter, the increased risk to the patient and the skill required of the provider, other alternatives are often desirable.
Multiple attempts at attaining access result in frustration and a loss in productivity by the treating team.
Notes: ENR article Dec. 2011
ENR stands for Emergency Nurse Resource, they are developed by ENA members to provide their colleagues with evidence-based information. Each ENR focuses on a clinical practice issue and is the result of the review and analysis of the supporting science and clinical knowledge.

## Slide 5: Approved Routes for IO Access in Adults
Sternum- not approved for use at CAVHS
Proximal humerus is the preferred site during a Code Blue
Proximal tibia allows easy access during a Code Blue
Distal tibia allows easy access during a Code Blue
Notes: Right and left extremities- In children just the tibias

## Slide 6: 10 seconds to vascular access
Proximal humerus-It has been shown under fluoroscopy that effective drug delivery form the proximal humerus takes 2.25 secs with the EZ IO access
Proximal tibia-takes approximately 5.1 seconds
Distal tibia-takes approximately 7.0 seconds
Notes: Information is with the EZ IO Intra osseous infusion drill by Vidacare. Visit Vidacare.com for more info and to watch videos on infusions

## Slide 7: In Conclusion
Intraosseous venous access is significantly more expeditious than standard IV access and should be considered early when known or suspected difficult IV access exists.
In alert patients, pain with intraosseous access insertions is rated as minor.
Lidocaine administration prior to medication infusion reduces the pain felt by alert patients.
In light of the evidence presented here, IO access provides vascular access in a timely manner when faced with difficult IV access. This conclusion is supported by the consistent first attempt success rate and rapid time to insertion.
Notes: Emergency Nurse Resource evidence based magazine

## Slide 8: Insertion technique
https://www.youtube.com/watch?v=eEe6wmGeY1g
https://www.youtube.com/watch?v=UXVDx26N9Zk

## Slide 9: Any Questions ??

## Slide 10: References
American Heart Association. (2005). American heart association guidelines for cardiopulmonary resuscitation and emergency cardiovascular care. Circulation, 112(24), 307-313.
Davidoff, J. (2005). Clinical evaluation of a novel intraosseous device for adults: Prospective. JEMS, 10(20), 2320-23.
Infusion Nurses Society. (2009). The role of the registered nurse in the insertion of intraosseous access devices. Journal of Infusion Nursing, 32(4), 187-188.
Intraosseous devices for intravascular access in adult trauma patients. (2011). Critical Care Nurse, 31(2), 76-89.
Lynn, P. (2010). Recommendations for the use of intraosseous vascular access for emergent and nonemergent situations in various health care settings. Journal of Infusion Nursing, 33(3), 346-351.