RA 202 Processing/ Curve Activity
Draw the following
1.   4 tanks of the processor and label
2.    The master roller (solar)
3.   Planetary rollers
4.    Guide shoes
5.   The crossover network
6.    The squeegee rollers
7.   The feed tray
8.    The entrance rollers
9.    The dryer
10. Drive system
11. A film going through the processor
12. Receiving bin

Curves
13. Draw a H&D curve
14. Label the toe, straight-line portion and shoulder
15. Shade the diagnostic density range
16. Circle where base plus fog would be on this curve
17. Draw a straight line though the speed point
18. Draw a wide latitude film curve
19. Draw a narrow latitude film curve
20. Place a box around the numbers that are logarithms
21. Draw a cross section of a film (4 parts) base, adhesive, emulsion super coat
22. Draw a cross section of a double emulsion film
23. Draw a cross section of an intensifying screen (base, reflective layer, phosphor layer, protective layer)
