## Slide 1: Test #2 Review Part A

## Slide 2: FDA Medical Device Classifications:
Class I ____________ risk.
Examples:

## Slide 3: Low-Risk Ultrasonic cleaners and handheld surgical instruments
Class II - Risks great enough to warrant a ______ level of regulation.
Examples:

## Slide 4: Higher most sterilization equipment, biological and chemical indicators
Class III – The most ___________ regulated devices
Examples:

## Slide 5: Stringently Heart valves, pacemakers, life-sustaining devices
FDA Class I Recal - __________risk
Notification: Must notify ________ and direct them to________. Must ______________.

## Slide 6: High customers, product recipient (patient), issue a press release
Class II - __________ that product will cause temporary or reversible health problems, or ________ chance the device will cause serious health problems.
Notification: ___________ must notify customers and sometimes ask them to notify____________.
Press release?

## Slide 7
Possibility that product will cause health problems and remote chance it will cause serious problems Manufacturer must notify customers (hospital) and sometimes ask them to inform products recipients. Generally, no press release

## Slide 8
Class III - _________ chance that using or being exposed to product will cause health problems.
Notification: ___________ must notify customers. Press release?

## Slide 9: Little chance no press release
____________ and ____________ should not be worn in CS because __________.

## Slide 10: Watches and jewelry they harbor bacteria
A mode of bacteria transmission that would take place when an infectious agent was transmitted through an item such as food or water is called:

## Slide 11: Common vehicle
Patients may pose a risk of infection whether or not thay have been diagnosed with an infectious disease or not is called __________.

## Slide 12: Standard (Universal) Precautions

## Slide 13
Which agency regulates medical device reporting?

## Slide 14: The FDA!
True or False? OSHA may intervene in a matter of worker protections even if there are no specific regulations covering the situation?

## Slide 15: True!
When it is necessary to transport soiled items between facilities using a truck or van, facilities must consult ______________, as well as _____________ for transporting biohazard items.

## Slide 16: DOT state and local laws
Standards and Regulations help set levels of _________in Central Service departments

## Slide 17: Quality, Safety, Efficiency
According to OSHA requirements. Which of PPE's is the employee required to provide for themselves?

## Slide 18: NONE!