## Slide 1: Progress Test 2
Review Part II

## Slide 2
Which system is used to treat the final rinse water used for cleaning

## Slide 3: deionization
What is the process called when Microorganisms reproduce?

## Slide 4: Binary Fission
How should floors be cleaned in CS?
How often?

## Slide 5: They should be wet-mopped daily
What is Asepsis?

## Slide 6: The absence of microorganisms that cause disease
What is surgical asepsis?

## Slide 7: Procedures performed to eliminate/reduce the presence of microrganisms and/or prevent the introduction of microorganisms to an area.
What is the First Principle of Asepsis?

## Slide 8: Know what is dirty
What is the Second Principle of Asepsis?

## Slide 9: Know what is clean
What is the Third Principle of Asepsis?

## Slide 10: Know what is sterile
What is the Fourth Principle of Asepsis?

## Slide 11: Keep the Three conditions separate
What is the Fifth Principle of Asepsis?

## Slide 12: Remedy Contamination Immediately
Purified water should have a pH of _____________ to ___________.

## Slide 13: 6.5-7.5
How is water softened?

## Slide 14: By removing calcium and magnesium
Sponges can be used to clean basins, containers, and trays. They should be replaced ____________ to assure that they will not become _________________________.

## Slide 15: Daily a source of contamination
Who is the #1 Customer of Central Service?

## Slide 16: The OR
Which department is CS usually located close to?

## Slide 17: The OR
Manufactures of new _______________devices must obtain pre-market approval (PMA) from the FDA by submitting PMA applications with extensive test data to demonstrate the safety/effectiveness of their products.

## Slide 18: Class III
What does reverse osmosis remove from the water?

## Slide 19: Bacteria pyrogens endotoxins
What is the problem with failing to perform soiled pickup rounds as scheduled?

## Slide 20: It can lead to equipment shortages
Healthcare Regulations and Standards provide consistency of departmental activities by outlining

## Slide 21: minimal performance standards
True or False: Soil on used instruments should be allowed to dry

## Slide 22: False
True or False? You can transport soiled and sterile items in the same cart.

## Slide 23: False!
Are all microorganisms harmful to humans?

## Slide 24: No! Some are necessary for human life.
The organization that sets recommended practices and standards for sterilization is ___________________________.

## Slide 25: AAMI (think about what the I stands for)
Are you allowed to eat and drink anywhere in CS?

## Slide 26: NO! Not even water!
Point of Use Processing involves:
1.
2.
3.

## Slide 27: Removing gross soil Spraying the instruments with an enzyme Removing blades and disposable components
All surfaces in CS must be ________________________.

## Slide 28: be impermeable to liquid
This breaks the surface tension of water and make "water wetter:

## Slide 29: Soap!
Which staff in the hospital must practice Standard Precautions?

## Slide 30: All hospital staff, regardless of position
According to OSHA’s Bloodborne Pathogens Standard of 1991, what is the employer responsible for?

## Slide 31
A written Exposure Control Plan
Training upon initial hire and annually
Hepatitis B Vaccine at no cost.
The Observance of Standard Precautions
The use of Engineering to physically remove
hazards and policies and procedures to prevent
exposure and transmission of blood borne pathogens
PPE
Clean and sanitary work environment
BIOHAZARD labels
Disposable of sharps in rigid containers
Contaminated items must be transported in covered, rigid, puncture-proof containers that are labeled and color coded.

## Slide 32
You can __________ bring boxes into Central Service:
A. always
B. sometimes
C. never

## Slide 33: NEVER, because they can harbor bacteria, insects, etc.