## Slide 1: Progress Test 3 Review Part 1

## Slide 2: What is the difference between a disinfectant and a detergent?
A chemical used to kill all organisms except spores
Disinfectant
Substances that can dislodge, remove or disperse solid and liquid soils from a surface being cleaned
Detergent

## Slide 3
Disinfectant:
A chemical used to kill all organisms except spores
Detergent: Substances that can dislodge, remove or disperse solid and liquid soils from a surface being cleaned

## Slide 4: What are the differences between the 3 levels of disinfectants?
High-level disinfection
Intermediate-level disinfection
Low-level disinfection
Process that utilizes an agent that kills vegetative forms of bacteria, some fungi, and lipid viruses
Process that utilizes a sterilant for a shorter contact time than used for sterilization, and kills all microbial organisms but not necessarily large numbers of bacterial spores
Process that utilizes an agent that kills viruses, myobacteria, fungi, and cognitive bacteria, but not bacterial spores

## Slide 5: Describe the pH Scale
A pH 0-6 indicates?

## Slide 6: Acidity!

## Slide 7: A pH 8-14 indicates?

## Slide 8: Alkalinity

## Slide 9: What is an example of acid substances?

## Slide 10: vinegar and lemon juice!
What is an example of an alkaline substance?

## Slide 11: Soap!
For most cleaning applications, what kind of pH is preferred?

## Slide 12: neutral or mildly alkaline pH detergents are preferred

## Slide 13: Instrumentation
Scissors
Martensitic (stainless steel)
Osteotomes
Rongeurs
Chisel-like instruments used to cut or shave bone
Instruments used to cut, incise, and/or dissinfect tissue
Also known as 400 series stainless steel
Surgical instruments used to cut or bite away at bone and tissue

## Slide 14: The pH level of a detergent measures:

## Slide 15: its acidity or alkalinity

## Slide 16
To achieve a reasonable level of disinfection, alcohol used as an Intermediate-level disinfectant must remain in wet contact with the surface for __________ minutes.

## Slide 17: 5 Minutes!

## Slide 18
Marking tape should be wrapped ______ to ________ times around an instrument.

## Slide 19: 1 to 1 ½!
When processing powered surgical instruments, it is important that _________ NOT enter the cable or handpiece

## Slide 20: Fluid!

## Slide 21: Why are Tungsten Carbide instruments prefered?
.

## Slide 22
They are harder
The y last longer
they grip the needle more firmly.
They can be replaced

## Slide 23: Which of the following is NOT true about battery-powered instruments:
Use a brush with a nylon brush to clean the distal tip
Don’t immerse the equipment in any solution
During processing it is imperative that fluid does not enter the cable or hand-held piece
Instruments powered by electricity require a cable that can be sterilized. The cables require routine maintenance which involves disassembly, cleaning and lubrication, and inspection for cuts and/or other damage
Always use solvents or lubricants

## Slide 24: B! Don’t use solvents or lubricants unless specified by the manufacturer Before cleaning, you should check with _______ first!!!

## Slide 25: MANUFACTURER