## Slide 1: Regulations and Standards
Chapter 5 7th Ed.
Rosemary Thurston RN

## Slide 2: Regulation
MANDATORY government LAW / RULE
  Establish MINIMUM:
    Quality
    Safety
    Reliability
    Efficiency
    Interchangeability
    Economical
  Ensures
    Good patient care
    Protection for you and the environment

## Slide 3: Standards
Defines Uniform parameters for:
  Processes and Services
    Gives minimum performance expectations
  Products
    Requirements for quality monitoring
  Measurements

## Slide 4
Regulatory Standard
  Comparison benchmark
    Mandated by governing agency
    If not followed – may have legal penalty / fine

## Slide 5
  Voluntary standard
    Strongly suggested
      Provides better patient care
    May be part of
      Government STATUTES
        Local or state
        Can become court cases
      Professional Organizations
        IAHCSMM

## Slide 6
Must be aware of Regulation:
  Compliance is MANDATORY
  May ensure workplace safety
    Protect you from exposure to:
      Infectious agents
      Toxic substances
      Accidents
  Give information before buying
    Devices and equipment
      Re Sterilization and disinfection
      Effective use of products

## Slide 7
  Serves Patient Welfare
    Complying with with regulations
    Adhering to accepted guidelines (standards) for:
      Infection control
      Sterility assurance
Strive to do “the best you can”
to protect patients and everyone

## Slide 8: Food and Drug Administration
Federal agency under Dept of Health & Human Svcs
Ensures products are safe and effective - testing
  Food
  Cosmetics
  Drugs
  Biological products
  Medical devices
  Electronic products
    May emit radiation
  Presented to public honestly

## Slide 9
Regulates medical devices
  Manufacture
  Pre-market clearance
Regulates agents to process (Sterilize or disinfect)
  Critical device
    Used in the blood stream or sterile body area
  Semicritical device
    Contact non-intact skin or mucous membrane

## Slide 10: Medical Device Classification
Class III Devices
  Most regulated
    Heart valves
    Pacemakes
    Other life sustaining devices
  Must demonstrate
    Safety and effectiveness

## Slide 11
Class II Devices
  Items that pose potential risks
    Sterilization equipment
    Biological monitors
      Spores –
        must be killed to prove sterilization
    Chemical indicators
      Change color –
        indicates exposure to sterilization process
  Have continuous surveillance

## Slide 12
Class I Devices
  Low Risk
    Ultrasonic Cleaner
    Hand-held surgical instruments
Pre-Marketing
  Prove
    safety and effectiveness for intended use
    new product must be substantially = device already on market
    may have to submit clinical data
Post Marketing requirements
  Medical device
    Reporting
    Tracking
    Corrections
    Removals

## Slide 13: Medical Device Reporting
“Safe Medical Devices Act” of 1990
  Health Care Facilities / users:
    Must follow reporting requirements
      To report within 10 days
        Deaths
        Serious injury or illness
          Lifethreatening
          Permanent impairment of body function
          Permanent damage to body structure
          Or would require medical or surgical intervention to prevent impairment
      Caused or suspected to be caused by device
    Sterilization failures if linked to patient illness
  P.82

## Slide 14: Med Watch Program
Voluntary reporting of device related problems by professionals for device:
  Medical device malfunctions
  Labeling inadequacies
  Or other problems
Includes
  Drugs
  Biologicals
P. 81, 83-84

## Slide 15: Medical Device Recalls
Action to address a problem
  with a device that violates FDA regulations
Can be enforced if device is
  Defective
  Poses risk to patient
Recalls can be
  Voluntary
  Mandated by FDA
    To check the device or remove it
    To protect health of patient
    http://www.youtube.com/watch?v=fwvXTkrO_Sc

## Slide 16
Categories of Recall
  Class I – high risk
    Reasonable cause of serious health problems / death
    Manufacturer notifies customers / Hlth Care Facilities
      They must notify the product recipients
    Manufacturers must issue press release
      FDA may issue one as well
      On FDA web site too
      http://www.youtube.com/watch?v=2bef-jSfyjE
  Pace Maker
  dePuy Hip

## Slide 17
  Class II Recall – Less serious
    Cause temporary or reversible health problem
    Remote possibility of serious health problem
    Manufacturer notifies providers who notify the recipient

## Slide 18
Class III – low risk
  Remote chance of health problems
  Because products violates FDA law,
  problem must be addressed

## Slide 19
FDA labeling
  Concern about possible infection from improper reprocessing of medical devices
    Are the instructions adequate to safety reprocess reusable devices???
    Responsibility to safely reprocess is with
      Manufacturer
      User (Health care facility)

## Slide 20
  Manufacturer
    Label must:
      Support the claim that it can be reused
      Have sufficient instructions on how to reprocess it for the next patient
    Document testing to show:
      Instructions to reprocess are adequate
      They can reasonably be followed by the user

## Slide 21
  User (Health Care Facility)
    Make sure they can follow the instructions
      Do they have the proper facilities and equipment
    Ensure the instructions are followed

## Slide 22: Re-Use of Single Use Medical Devices
In the 1980’s
  First start of decreased insurance payments
  50% of hospitals were reprocessing single-use device (SUD)
NOW, anyone who re-uses a SUD
  Must demonstrate:
    Item can be adequately cleaned and sterilized
    Quality of device is not affected
    Device is still safe and effective

## Slide 23
Hospital Re-use Options
  Decision to reprocess should include input to evaluate the legal, ethical and economic issues
    Legal officers
    Administration
    Infection control
    Surgical services
    Risk management
    Finance
    Material management

## Slide 24
  Need to decide
    What will be reprocessed
    How many times it can safely be reprocessed
    Do they want to reprocess on site
    or
    Send it out of the facility to a
    Third Party Reprocessor

## Slide 25
Third-party Reprocessors
  Concern re:
    When was last FDA inspection?
    What were the results?
      Has the facility been cleared to reprocess?
    How is the process monitored for Quality?
      Has it been validated?
        Cleaning
        Packaging
        sterilization

## Slide 26
    Are there limits on the number of times you reprocess?
      How do you do that?
    How do you track it through the system?
    Turn around time?
    Are Techs certified?

## Slide 27: Other Federal Agencies
CDC – Center for Disease Control
  Promotes health and quality of life
    Preventing and controlling
      Disease
      Injury
      Disability
  Respond to health emergencies
  Guidelines for:
    Infection control and prevention
    Isolation techniques

## Slide 28
DOT – Department of Transportation
  Re healthcare – regulate
    Transport of minimally processed instrumentation for repair / relabeling
    Transport of hazardous and radioactive wastes
  Be aware of DOT and State / Local regulations

## Slide 29
EPA – Environmental Protection Agency
  Concern re Clean
    Air – outside and inside (pollution)
    Water
    Land
    Greenhouse gases
    Toxic emissions
    Solid Waste

## Slide 30
  Pesticide Regulations
    Includes all anti-microbial products
      Disinfectants
      Sanitizers
    Proper labeling
      Ingredients
      Directions to use, store and dispose
      Precautions and warnings
CST’s must read and follow chemical labels

## Slide 31
  In 1996, addressed CFCs (chlorofluorocarbons)
    Were depleting the earth’s ozone layer
    Were used in ETO (ethylene oxide sterilant)
      Phased out
      Replaced with HCFCs (hydrochloroflurocarbons)
      And 100% ETO
        ETO is toxic and flamable
        No emission standards federally – some states do

## Slide 32
OSHA – Occupations Safety and Health Admin.
  To protect workers from occupational
    Illness
    Injury
  Concerns:
    Bloodborne Pathogens
    Ethylene Oxide Sterilization (ETO)
  Violations by employer
    Fines up to $70,000

## Slide 33: Professional Associations
AAMI – Assoc. for Advancement of Med. Instrumentation
  Voluntary consensus organization
  Develop and Revise
    Current Recommended Practices and Standards
      Use, Care and Processing of Devices
    Product Standards for manufacturers re:
      Labeling
      Safety
      Performance requirements

## Slide 34
ANSI - American National Standards Institute
  Interested parties come together
  Facilitate voluntary consensus for Standards

## Slide 35
AORN – Assoc. of Operating Room Nurses
  Perioperative Nurses organization
    To provide optimal care to the surgical patient
    Develop Standards, Recommended Practices and Guidelines
      CS relates to instrument reprocessing

## Slide 36
The Joint Commission
  Develops standards for health care facilities
  Give Accreditation to facilities
    Can come without notice to inspect facility
    Without can’t collect from Medicare / Medicaid

## Slide 37
WHO – World Health Organization
  Part of United Nations
    Established in 1948
  Serves general peoples of the World
    Combats disease
    Promotes general health
      Monitors infections outbreaks in the world